# PNEUMATIC Automation Valves Sap Valves offers a complete Automated Valve assembly i.e. Actuator, Control accessories and the valve i.e. Ball Valve, Butterfly Valve, Plug Valve or dampers. The basic valve is manufactured in-house and automated with Actuator and Accessories. Ball Valve Automation System; Butterfly Automation System; Plug Valve Automation System. - Size range 1/2" - 24" #150 - #2500 - Soft seated, Metal seated - Fire safe as per API607 or BS5351 as an application - Variety of Ball Valve constructions offered as per the requirements; - Size range 2" - 48", PN10, PN16, PN25 - Variations in Butterfly Valve - onstructions offered as per client requirements; - Size range 1/2" - 20" in #150 - #2500 - Different constructions offered as per client requirement. 2/2 Way Pneumatic ON/OFF Angle type Control Valve (S/C BSP/NPT)(F/E ASA 150#) Type : Normally Closed / Normally Open Size : 1/2" to 2" (15mm to 50mm) Mat: SS 304, SS 316 (CF-8 / CF-8m) OP Pressure : 3.5 to 7 BAR W Pressure : UP to 14 BAR Temp : 180°CMax. Media : air, gas.water, steam, chemical, oil etc.; 2/2 Way Pneumatic ON/OFF "ND" type Control Valve (F/EASA150#) Type : Normally Closed / Normally Open Size : 1" to 2" (25mm to 50mm) Mat: C.I. OP. Pressure : 3.5 to 7 BAR W. Pressure : UP to 14 BAR Temp : 180°C Max. Media : air, gas.water, steam, chemical, oil etc.. 2/2 - 3/2 Way Pneumatic Diapharm Operated Control Valve (F/EASA150#) Type : Normally Closed / Normally Open Size : 1/2" to 8" (15mm to 200mm) Mat:C.I./WCB/SS OP. Pressure : 35 PSI Max. W. Pressure : 10 BAR / 20 BAR Temp:180°C, 300° C, 450° C Media : steam, thermic oil, water, chemical; 2 Way- 3 Way Electrical Motorised Control Valve (F/EASA150#) Type:NC/NO/PID Size : 1/2" to 8" (15mm to 200mm) Sup:230V W. Pressure : 10 BAR / 20 BAR Temp:180°C, 300° C, 450° C Action : Linear and Reversible With change of Power Media : steam, thermic oil, water, chemical. RSDN 2/2 Way Pilot Operated Diapharm type Solenoid Valve (S/C BSP/NPT) (F/E ASA 150#) Type : NC / NO Size : 1/2" to 2" (15mm to 50mm) Mat: SS 304, SS316 (CF 8, CF 8m) W. Pressure : 0.5 Min. 12 BAR Max. Sup: 12,24, 110, 230 AC DC Media : Air, Gas, Oil, Water etc. RSL / RDAC 2/2 Way Semi lift type Solenoid Valve (S/C BSP/NPT) (F/E ASA 150#) W. Pressure : 0.1 Min. 7 BAR Max. RSL W. Pressure : 0.0 Min. 2 BAR Max. RDAC; 2/2 - 3/2 Way Direct Operated Solenoid Valve (S/C BSP/NPT) Type : Normally Closed / Normally Open Size: 1/8" to 1/2" Mat: SS 304, SS 316 Aluminium, Brass. W Pressure : UP to 7 ,15 ,25 ,50 ,75 BAR Temp :85° 150°C Max. Media : air, gas.water, steam etc. Sup: 12, 24, 110, 230 AC DC. 3/2 - 5/2 Way Single / Double Solenoid Valve (S/C BSP/NPT) Size: 1/8" to 1/2" Mat: Aluminium W Pressure: UP to10 BAR Temp : 85° C Max Media: air Sup: 12, 24, 110, 230 AC DC 3/2 - 5/2 Way Hand Lever Valve (S/C BSP/NPT) Size: 1/8" to 1/2" Mat: Aluminium W Pressure: UP to10 BAR Temp: 85°C Max Media: air; Pnumatic Air Cylinder D/A - S/A Bore : 25 mm to 100 mm Stock: 25,50,75,100,150,200,250,300 mm. Temp : 100°C.. Air Preparation Units Air Filter, Regulator, Lubricator Size : 1/8" to 1/2"; P. U. Tubes Nylon, P.V.C., Braided Hose Pipe Gas Pipe Hydraulic Pipe..